CIS ENERGY PERFORMANCE MODELLING REQUIREMENTS

# General

The University of Sydney requires that the following Energy Performance Summary Report and associated discipline drawings must be provided for each reporting stage and the For Construction and As Built Stages as appropriate. Where information cannot be readily provided for a particular project stage, it must be progressively provided during subsequent stage reports.

This document describes minimum information required by the University and may be used as a template for presentation of that information. The Inputs Summary may be in the format of the input to the modelling program, subject to compliance with The University requirements.

Table 1 – Project and Site Details

| Project Details |  |
| --- | --- |
| Site Location |  |
| Climate Zone |  |
| Project Stage |  |
| BCA Edition |  |

Table 2 – Building Details

Provide the following details for the building. Clearly show the building number on a plan drawing of the site including orientation relative to north.

| Building Number | Class/Use | GFA m² | NLA m² |
| --- | --- | --- | --- |

Provide the details required in the following tables for each building.

Table 3 – Verification Method Used

| Building Number | Method | Software | Service Provider/Verifier Name/Verifier Qualifications |
| --- | --- | --- | --- |

# VERIFICATION METHOD ENERGY PERFORMANCE OUTPUT SUMMARY

Provide the expected energy consumption and greenhouse gas emission rate of the building together. As Built performance must be determined at the end of the Defects Liability Period.

Table 4 – Building Annual Energy Consumption and Greenhouse Gas Emission Rates

| Building Id. | Annual Regulated Consumption, Credits, Emissions |
| --- | --- |
|  | Energy consumption: | Electricity Gas Other | MWh GJ GJ |
|  | Energy credits: | Electricity Gas Other | MWh GJ GJ |
|  | Energy Emissions (tonnes CO2-equivalent): | Electricity Gas Other |  |
| Annual Unregulated Consumption, Credits, Emissions |
|  | Energy consumption: | Electricity Gas Other | MWh GJ GJ |
|  | Energy credits: | Electricity Gas Other | MWh GJ GJ |
|  | Energy Emissions (tonnes CO2-equivalent): | Electricity Gas Other |  |
| Total Annual Consumption, Credits, Emissions |
|  | Energy consumption: | Electricity Gas Other | MWh GJ GJ |
|  | Energy credits: | Electricity Gas Other | MWh GJ GJ |
|  | Energy Emissions (tonnes CO2-equivalent): | Electricity Gas Other |  |

Table 5 – Building Components of Annual Energy Consumption Calculation

The steps The University requires for the Verification Method are as described in the ABCB Handbook ‘BCA Section J –Assessment and Verification of an Alternative Solution.’ Recommended steps are:

- Step 1: Calculate the theoretical annual energy consumption allowance by modelling a reference building, i.e. a DTS complying building based on the criteria in BCA Verification Method JV3(d) (i). This is Modelling Run 1.

- Step 2: Calculate the theoretical annual energy consumption of the proposed Alternative Solution (building and services) using either the subject building’s criteria or those in Specification JV as required (BCA Verification Method JV3(a) (i)). This is Modelling Run 2.

- Step 3: Calculate the theoretical annual energy consumption of the proposed Alternative Solution with the services modelled as if they were the same as those of the reference building (BCA Verification Method JV3 (a) (ii)). This is Modelling Run 3.

- Step 4: Compare the theoretical annual energy consumption calculated in steps 2 and 3 to the annual energy consumption allowance calculated in step 1 to ensure that in both cases, the annual energy consumption of the reference building in step 1 is not exceeded by that in steps 2 and 3.

| Component | Calculated Annual Energy Consumption |
| --- | --- |
|  | Modelling Run 1 BCA Performance Requirement JP1: BCA Reference Building with DTS reference building fabric and services | Modelling Run 2 BCA Alternate Solution with proposed The University building fabric and its proposed (specified) services | Modelling Run 3 BCA Alternate Solution with proposed The University building fabric and BCA DTS reference building services |
|  | Electricity (kWh/annum) | Gas (MJ/annum) | Electricity (kWh/annum) | Gas (MJ/annum) | Electricity (kWh/annum) | Gas (MJ/annum) |
| Lighting |  | - |  | - |  | - |
| Power |  | - |  | - |  | - |
| Heating |  |  |  |  |  |  |
| Cooling |  | - |  | - |  | - |
| Air-handling |  | - |  | - |  | - |
| Ventilation |  | - |  | - |  | - |
| Lifts |  | - |  | - |  | - |
| Hot water supply |  |  |  |  |  |  |
| Sub-total |  |  |  |  |  |  |
| Conversion factor | For Electricity kWh/annum to MJ/annum times by 3.6 |
| Elec Sub-total Conversion | (MJ/annum) | - | (MJ/annum) | - | (MJ/annum) | - |
| Area | m2 |
| Total | MJ/m 2.annum | MJ/m 2.annum | MJ/m 2.annum |

Comparison of Calculated Annual Energy Consumption for Compliance Verification

| Modelling Run 1: BCA Reference Building with DTS reference building fabric and services. | MJ/m 2.annum |
| --- | --- |
| Modelling Run 2: BCA Alternate Solution with proposed The University building fabric and its proposed (specified) services. * | MJ/m 2.annum |
| Modelling Run 3: BCA Alternate Solution with proposed The University building fabric and BCA DTS reference building services. * | MJ/m 2.annum |

* To verify compliance with BCA Section J for The University buildings, Modelling Run 1 must not be exceeded by Modelling Runs 2 and 3.

Heating Energy Source

Energy source for heating:...............................................................................................

Daily Occupancy and Operation Profiles

Refer to Attachment A for requirements.

# ENERGY PERFORMANCE INPUTS SUMMARY

## BUILDING FABRIC

Table 6 – Roof and Ceiling Insulation

Provide a unique descriptor for each roof, wall, and floor element and show those identifiers on the drawings.  For each roof or ceiling that is part of the envelope provide the unadjusted thermal resistance value (R-Value) and solar absorptance.

| Roof Id. | Location and construction | R-Value m2.K/W | Solar Absorptance |
| --- | --- | --- | --- |

Table 7 – Envelope External Walls

For each part of an external wall that is part of the envelope provide the R-value and solar absorptance.

| Wall Id. | Location and construction including details of wall shading. (State if thermal breaks are required). | R-Value m2.K/W | Solar Absorptance |
| --- | --- | --- | --- |

Table 8 – Non-Envelope External Walls

Provide the R-value for any wall, other than an external wall, that is part of the envelope.

| Wall Id. | Location and construction including details of wall shading. (State if thermal breaks are required). | R-Value m2.K/W |
| --- | --- | --- |

Table 9 – Envelope Floors

Provide the R-value for each floor that is part of the envelope of a building, other than one in a sole-occupancy unit of a Class 2 building or a Class 4 part of a building.

| Wall Id. | Location and construction including details of wall shading. (State if thermal breaks are required). | R-Value m2.K/W |
| --- | --- | --- |

## GLAZING

Table 10 – Glazing and Translucent Elements

Provide a unique identifier for each glazed window and glazed door element and show those identifiers on the drawings.

| Glazing Id. | Location and construction including orientation and details of glass shading | Area m2 | U-value W/(m2.K) | SHGC |
| --- | --- | --- | --- | --- |

## AIR-CONDITIONING AND VENTILATION SYSTEMS

Provide a unique descriptor for each air-conditioning and ventilation system and each piece of equipment and show those identifiers on the drawings.

Table 11 – Air-conditioning systems

| Air Cond. Id. | System Details | Area Served m² | Design Load W/m² | Fan Power W/m² |
| --- | --- | --- | --- | --- |
|  | Type: CV single zone, CV multi-zone, VAV+EDH, Induction, etc. Cooling: Chilled water, DX, etc. Heating: EDH, hot water coils, etc. |  |  |  |
|  | Averages: |  |  |  |

Table 12 – Packaged Air-Conditioners

| Air Cond. Id. | System Details | Area Served m² | Design Load W/m² | Cooling EER Wr/Winput power. Heating COP | Fan Power W/m² |
| --- | --- | --- | --- | --- | --- |
|  | Type: Ducted, CV, heat pump, DX, VAV, VRF, heat pump etc. |  |  |  |  |

Table 13 – Ventilation Systems

| Vent. System Id. | System Details | Area Served m² | Ventilation Rate L/(s.m²) | Fan Power, W/m² |
| --- | --- | --- | --- | --- |
|  | Type: Carpark exhaust, carpark supply, toilet exhaust etc. |  |  |  |

Table 14 – Pumping Systems

| Pump System Id. | System Details | Area Served m² | Design Load W/m² | Pump Power W/m² |
| --- | --- | --- | --- | --- |
|  | Type: Primary or secondary, variable or constant volume chilled water. Primary constant volume hot water. Secondary variable or constant volume hot water. Constant volume condenser water, etc. |  |  |  |
|  | Averages: - Chilled water - Heating hot water - Condenser water |  |  |  |

Table 15 – Chiller Performance

| Chiller Id. | Chiller Details | Capacity kWr | Minimum EER at Full Load Operation Wr/Winput power | Minimum EER at IPLV Wr/Winput power |
| --- | --- | --- | --- | --- |
|  | Type: Air or water cooled. Centrifugal or screw. Free-cooling type. Magnetic bearings, etc. |  |  |  |

Table 16 – Water Heater (Boiler or Hot Water Heating Unit) Performance

| Boiler Id. | Heater Details | Capacity kWheating | Minimum Gross Thermal Efficiency % at Full Load |
| --- | --- | --- | --- |
|  | Type: Gas fired. Natural or forced draught. Modulating burner, etc. |  |  |

## ARTIFICIAL LIGHTING

Table 17 – Lighting and Controls

Complete and provide the following tables for each of the artificially lit spaces for each project stage and For Construction and As Built stages.

| Room Id. | Area m² | Control Method | Controls Adjustment Factor | Permitted Adjusted Illumination Power Density W/m2 | Illumination Power Density Achieved W/m2 |
| --- | --- | --- | --- | --- | --- |

## SPECIALIST BUILDING USER PLANT AND EQUIPMENT

Table 18 – Plant and Equipment Performance

| Asset Id. | Heater Details | Capacity kW | Annual operating hours |
| --- | --- | --- | --- |
|  | Type: Lazers, Microscopes, Freezers, General Laboratory Equipment,etc. |  |  |

Further Guidance

Refer also to ABCB Handbook – BCA Section J –Assessment and Verification of an Alternative Solution, Appendix A, Sample Energy Analysis Report for further guidance on the required reporting.

ATTACHMENT A – ENERGY MODELLING INPUT INFORMATION

Provide the following input information for building energy modelling.

## BCA PART J – PROPOSED BUILDING MODEL

Complete and provide the following tables for each of the above buildings.

Table A1 – Maximum Usage Levels

For each thermal zone provide the following information.  Show each thermal zone on a plan of the specific building.

| Occupancy | The maximum usage level in terms of people per unit area of thermal zone against which the hourly rates of Table C2 are applied. |
| --- | --- |
| Lighting | The maximum usage level in terms of illumination power density per thermal zone against which the hourly rates of Table C2 are applied. |
| Internal Equipment | The maximum usage level in terms of power density per thermal zone against which the hourly rates of Table C2 are applied. |
| Infiltration | The maximum rate of infiltration per thermal zone against which the hourly rates of Table C2 are applied. |
| Outside air ventilation | The maximum rate of outside air ventilation either per person or per unit area of thermal zone against which the hourly rates of Table C2 are applied. |

Table A2 – Profiles

Refer to BCA Specification JV Annual Energy Consumption Criteria for typical details of the following profiles.

| Occupancy | The hourly, daily, weekly, annual profiles of use for each space as a percentage of the maximum |
| --- | --- |
| Lighting | as above |
| Internal Equipment | as above |
| Infiltration | as above |
| Outside Air Ventilation | as above |

Table A3 - Building Fabric

Show the building fabric descriptor for each thermal zone on a plan of the specific building.

| Exposed Walls | Wall descriptor, R-Value and solar absorptance for each wall type |
| --- | --- |
| Internal Walls | Internal wall descriptor and R-value for each wall type subject to temperature difference |
| Exposed Roofs | Roof descriptor, R-value and solar absorptance for each roof type |
| Internal Roof/ Ceiling | Internal roof or ceiling descriptor and R-Value for each roof type or ceiling type subject to temperature difference |
| Floor | Floor descriptor and R-Value for each floor type subject to temperature difference |

Table A4 - Glazing or Translucent Fabric

Show the glazing or translucent fabric descriptor for each thermal zone on a plan of the particular level of the specific building.

| For each orientation and level | Glazing or translucent fabric descriptor, glazing or translucent material element SHGF, U-Value, total element area |
| --- | --- |

Table A5 – Air-conditioning

Provide the following details on each air-conditioning system that serves a thermal zone or a number of thermal zones.  Show the air-conditioning descriptor for the combination of thermal zones and a sub-descriptor for each thermal zone served on plans of the particular level of the specific building.

| System type | As appropriate, a descriptor and thermal zone sub-descriptor of central plant, air-conditioners, and systems that serve a thermal zone or a number of thermal zones and a summary description of the system |
| --- | --- |
| Temperature | Hourly, daily, weekly, annual set-points for each thermal zone |
| Air-conditioner fans | Hourly, daily, weekly, annual operating times for each thermal zone and for each conditioner that serves a number of thermal zones |
| Air-conditioner cooling and heating availability | Hourly, daily, weekly, annual operating times for each conditioner |
| Air-conditioner control strategies | Availability and use of outside air cycles, heat reclaim, optimum start and stop, night ventilation, etc., for each conditioner |
| Central plant availability | Hourly, daily, weekly, annual availability times for each chiller, boiler, pump, etc. |
| Fan power | Average W/m2 for each air-conditioner |
| Pump power | Average W/m2 for chilled, condenser and heating hot water |
| Plant capacities | Number and model sizes of each chiller, boiler, air-conditioner and pump. Performance criteria for chillers (COP, IPLV), efficiency for boilers, fan efficiency, combined motor and drive efficiency, pump efficiency and combined pump motor and drive efficiency |
| Packaged air-conditioners | Capacity, COP or kWe/kWR at the MEPS conditions of each conditioner that is non-MEPS compliant |

Table A6 - Ventilation Systems

Provide the following details on each ventilation system with a ventilation rate greater than or equal to 1,000L/s.  Show the ventilation system descriptor on plans of the particular level of the specific building.

| Supply ventilation | Supply ventilation system descriptor, space or spaces served, total space area, supply air rate, supply fan efficiency, motor power, and combined motor and drive efficiency. |
| --- | --- |
| Exhaust ventilation | Exhaust ventilation system descriptor, space or spaces served, total space area, exhaust air rate, exhaust fan efficiency, motor power, and combined motor and drive efficiency |

Table A7 – Specialist Energy Intensive Plant and Equipment

Provide the following details on each specialist plant and equipment asset rated more than 3 kW

| Plant and equipment type | kW rating |
| --- | --- |
| Plant and equipment availability | Hourly, daily, weekly, annual operating times for each |

## MODELLED RESULTS

Provide a summary of the modelled energy performance for each building at each stage of reporting.

Table A7 - Annual Energy Consumption

| Regulated Energy # | Electricity (kWh/m 2.annum) | Gas (MJ/m 2.annum) |
| --- | --- | --- |
| Space Cooling |  |  |
| Heat Rejection |  |  |
| Refrigeration |  |  |
| Space Heating |  |  |
| Heat Pump Supp |  |  |
| Domestic Hot Water |  |  |
| Ventilation Fans |  |  |
| Pumps |  |  |
| Miscellaneous base building power for core area services (toilets, tea rooms, etc) |  |  |
| Base building interior lighting |  |  |
| Base building external lighting including area lighting and external car parks |  |  |
| Lifts, Escalators, etc. |  |  |
| Other Usage |  |  |
| Regulated Energy Sub-total |  |  |
| Unregulated Energy |  |  |
| Interior Lights except base building |  |  |
| Task Lights |  |  |
| Data Centre equipment## |  |  |
| Supplementary air-conditioning |  |  |
| Miscellaneous equipment except base building |  |  |
| Other Usage |  |  |
| Unregulated Energy Sub-total |  |  |
| Specialist plant and equipment |  |  |
| Specialist plant and equipment | kW per annum | MJ per annum |
| Specialist plant and equipment Sub-total |  |  |
| Total Regulated + Unregulated Annual Energy Consumption |  |  |

# Definitions

- Regulated energy is the energy consumption that can be reasonably controlled from a technical perspective, e.g. base building systems including air-conditioning, lighting, lifts, and domestic hot water.

- Unregulated energy is the energy consumption of equipment that, beyond procurement, is largely under the control of occupants, e.g. occupant controlled computers, lighting, conference room supplementary air-conditioning, and occupant equipment.

## Data Centre equipment energy consumption where that demand is higher than 25 W/m2 of the space in which it is installed otherwise, include in Miscellaneous equipment.

Table A8 - Energy Consumption Rates

|  | Electricity (MJ/m2.a) | Gas (MJ/m2.a) | Other fuel (MJ/m2.a) | Total (MJ/m2.a) |
| --- | --- | --- | --- | --- |
| Regulated energy consumption rate |  |  |  |  |
| Unregulated energy consumption rate |  |  |  |  |
| Specialist plant and equipment |  |  |  |  |

Table A9 - Alternative Energy Credits

|  | Electricity (MJ/m2.a) | Gas (MJ/m2.a) | Other fuel (MJ/m2.a) | Total (MJ/m2.a) |
| --- | --- | --- | --- | --- |
| Regulated energy rate |  |  |  |  |
| Unregulated energy rate |  |  |  |  |

Table A10 - Greenhouse Gas Emission Levels

|  | Electricity (kg-CO2-equiv/m2) | Gas (kg-CO2-equiv/m2) | Other fuel (kg-CO2-equiv/m2) | Total (kg-CO2-equiv/m2) |
| --- | --- | --- | --- | --- |
| Regulated energy rate |  |  |  |  |
| Unregulated energy rate |  |  |  |  |
| Specialist plant and equipment |  |  |  |  |