## SFW Instructions
Welcome to the University of Sydney Sustainability Framework
Framework version | 2.1 | Changes to version 2.1 include: Fixed cell references in the Index sheet. Minor updates to submission requirements to align with supporting templates, and Additional Guidance document v1.
Last updated | 2016-02-25
Introduction
The University of Sydney is committed to deliver functional, flexible, resource efficient and sustainable buildings. The Sustainability Framework and Sustainability Design Standard have been developed to integrate efficiency and sustainable development measures into major projects and new buildings. The Sustainability Framework endeavours to ensure the University’s built environment is resource efficient, operationally cost-effective and provides improved environmental and health and wellbeing benefits to student, staff and visitors. The Sustainability Framework contains a number of measures categorised within the following themes: 1. Leadership and Communication 2. Resource Efficiency 3. Healthy Environment 4. Materials 5. Climate Change, Landscape & Infrastructure 6. Sustainable Transport The University of Sydney Sustainability Standard contains background information to this Framework and sets out the application of the Sustainability Framework to projects. This Sustainablity Framework refers to a number of Australian Standards, University of Sydney Standards and selected industry standards and guidelines. The Framework should be read in conjunction with these documents.
Points System
The Sustainability Framework is designed to benchmark new buildings and major projects at the University of Sydney according to the sustainability ambition level for the project. Individual measures detail specific design and infrastructure requirements to enhance sustainability of the project. Certain measures are designated as "mandatory" and each measure has a point score. The mandatory measures are detailed at the top of each category. The project must, as a minimum, meet the required overall score as dictated by ambition level. The total score includes points achieved via mandatory measures plus points achieved from optional measures, combined to reach the target score. The required score may be reached by targeting a combination of measures across any category. There is no requirement to achieve a minimum number of points from within each category. Note: If a measure is to be targeted, the whole score must be attained - there are no point awarded for partial achievement of a measure. The Sustainability Framework recognises the variety of building types that are delivered in the University environment. It also recognises that the method to achieve sustainbility outcomes for different building types can vary. To accomodate this, the Sustainability Framework makes available a tailored set of measures depending on the building type of the project. Building types that are available are; * University buildings - this building type is suitable for general university space including general teaching buildings, libraries and administrative buildings * Laboratory buildings - this building type is suitable for buildings containing wet and dry laboratory spaces, administrative and write up spaces and general teaching space * Student accomodation buildings - this building type is suitable to assess student accomodation projects
Completing the Framework
To commence the Sustainability Framework, the project team should first complete the Index tab. 1. Enter the project details 2. Select the project type 3. Select the ambition level for the project The index will update to present the available measures for the selected project type and will nominate the required points for the selected ambition level. Note that the summary table on the index sheet is read-only and draws through information from the Framework spreadsheet. The project team must select targeted measures in the Framework sheet to achieve the number of points required. The index sheet also provides a breakdown of the number of points acheived in each category. This is for information only - there is no requirement to achieve a minimum number of points within each category. An editable copy of the Framework sheets are provided to allow project teams ease of use in developing the sustainability strategy and team responsibilities. The use of the red Framework-development sheets is optional. Please note that all submissions to CIS must be completed using the green "Framework" and "Index" sheets, not the editable version. Submission requirements and review points are detailed in the CIS Sustainability Standard. To complete the Sustainability Framework Spreadsheet, the project team must indicate which points are being targeted and explicitly reference relevant submission documentation or sections of documentation to demonstrate how a measure will be achieved.
Sustainability Standard Certification
Documentation submission and certification points for the Sustainability Framework are outlined in the CIS Sustainability Standard. Certification must be verified by the appropriate person submitting a digital signature in the CIS Sustainability Standard Certification Form CIS-ENG-F011.
Definitions
The Sustainability Framework (or, the Framework) - | this dynamic Microsoft Excel based tool is the CIS Sustainability Framework
Sustainability Standard - | This Framework forms one part of the CIS Sustainability Standard. The accompanying Standard document outlines the scope and application of this Framework to projects. This Framework must be used in conjunction with the CIS Sustainability Standard version DRAFT 001
Measure - | a sustainability initiative
Mandatory measure - | a measure which must be targeted for all projects of a certain project type
Discretionary measure - | a measure that is optional for a project to target in order to meet the required number of points
Category - | a group of measures that relate to a particular sustainability theme
Points - | each measure is allocated a number of points
Mandatory points | points associated with mandatory measures
Discretionary points | points associated with discretionary measures
Support
The Sustainability Standard and Sustainability Framework tool are maintained by the CIS Planning, Engineering and Sustainability Team. For support in using this spreadsheet please contact cis.sustainablecampus@sydney.edu.au

## Index
Project Details
Project name: |  | <input project name>
What type of building is your project? |  | Student Accommodation
What is the ambition level for your project? |  | Gold - 75% |  |  | 0.75
Ambition Level |  | Gold - 75%
|  | Pre-contract Design | D & C Stage
Total Points Available |  | 140 | 140
Total Points to achieve ambition level |  | 105 | 105
Current total points targeted |  | 0 | 0
Remaining points required to achieve ambition level |  | 105 | 105
|  | Points Available | Mandatory Points | Pre-contract Design | Design & Construction
|  |  |  | Points Targeted | Points Targeted
1. Leadership and Communication
1.1 | ESD Professional | 2 | 2 | 0 | 0
1.2 | Life Cycle cost evaluation | 3 | 3 | 0 | 0
1.3 | Commissioning | 3 | 3 | 0 | 0
1.4 | Environmental Management Plan | 1 | 1 | 0 | 0
1.5 | Site Waste Management Plan | 1 | 1 | 0 | 0
1.6 | Indoor Air Quality Management Plan | 3 | 3 | 0 | 0
1.7 | Building Users' Guide | 1 | 1 | 0 | 0
1.8 | Public information display | 2 | 0 | 0 | 0
9 |  | 16 | 14 | 0 | 0
2. Resource Efficiency
Passive Design and Energy Efficiency
2.1 | Passive Design Principles | 1 | 1 | 0 | 0
2.2 | Improve Building Energy Performance by 20% | 3 | 3 | 0 | 0
2.3 | Solar PV Systems | 3 | 3 | 0 | 0
2.4 | Hot Water Systems | 3 | 3 | 0 | 0
2.5 | Energy Consuming Equipment | 2 | 2 | 0 | 0
2.6 | Metering Utility Use | 3 | 3 | 0 | 0
2.7 | Lighting Systems | 2 | 2 | 0 | 0
2.8 | Unoccupied Spaces | 2 | 2 | 0 | 0
2.9 | No Hot Water in Public Restrooms | 1 | 1 | 0 | 0
2.10 | Improve Building Energy Performance by 30% | 3 | 0 | 0 | 0
2.11 | Natural Ventilation | 3 | 0 | 0 | 0
2.12 | Mixed Mode Ventilation | 10 | 0 | 0 | 0
2.13 | Peak Power (1) | 3 | 3 | 0 | 0
2.14 | Peak Power (2) | 3 | 0 | 0 | 0
Water Efficiency
2.15 | Water Use | 1 | 1 | 0 | 0
2.16 | Laboratory equipment water use | 0 | 0 | 0 | 0
2.17 | Process water efficiency | 0 | 0 | 0 | 0
2.18 | Water Harvesting | 3 | 3 | 0 | 0
2.19 | Fire Systems | 1 | 1 | 0 | 0
Waste Management & Resource Recovery
2.20 | Centralised Building Waste Management System | 1 | 1 | 0 | 0
2.21 | Waste Storage | 1 | 1 | 0 | 0
20 |  | 49 | 30 | 0 | 0
3. Healthy Environment
3.1 | Access to water stations | 1 | 1 | 0 | 0
3.2 | Avoid Over lighting Spaces | 3 | 3 | 0 | 0
3.3 | Daylighting | 2 | 2 | 0 | 0
3.4 | External Views | 2 | 2 | 0 | 0
3.5 | Avoid Glare | 2 | 2 | 0 | 0
3.6 | Thermal Comfort | 2 | 2 | 0 | 0
3.7 | Location of Stairs | 1 | 1 | 0 | 0
3.8 | Building Noise | 1 | 1 | 0 | 0
3.9 | CO2 Monitoring | 3 | 3 | 0 | 0
3.10 | Volatile Organic Compounds - Adhesives & Sealants | 2 | 2 | 0 | 0
3.11 | Volatile Organic Compounds - Paints & Carpets | 2 | 2 | 0 | 0
3.12 | Formaldehyde Minimisation | 2 | 2 | 0 | 0
3.13 | Ceiling Fans | 2 | 0 | 0 | 0
3.14 | Planting selection | 1 | 0 | 0 | 0
14 |  | 26 | 23 | 0 | 0
4. Materials
4.1 | Loose Furnishings | 2 | 2 | 0 | 0
4.2 | Sustainable Timber (1) | 2 | 2 | 0 | 0
4.3 | Recycled Steel (1) | 3 | 3 | 0 | 0
4.4 | Façade Reuse | 2 | 0 | 0 | 0
4.5 | Structure Reuse | 3 | 0 | 0 | 0
4.6 | Sustainable Timber (2) | 2 | 0 | 0 | 0
4.7 | Steel (2) | 3 | 0 | 0 | 0
4.8 | Recycled Concrete | 3 | 0 | 0 | 0
4.9 | Regional materials | 3 | 0 | 0 | 0
4.10 | Joinery | 3 | 0 | 0 | 0
4.11 | PVC Minimisation | 3 | 0 | 0 | 0
4.12 | Design for Disassembly | 3 | 0 | 0 | 0
13 |  | 32 | 7 | 0 | 0
5. Climate Change, Landscape & Infrastructure
5.1 | Infrastructure Future proofing | 3 | 3 | 0 | 0
5.2 | High Albedo Roof Materials | 1 | 1 | 0 | 0
5.3 | Surface Heat Reduction | 1 | 1 | 0 | 0
5.4 | Landscape | 1 | 0 | 0 | 0
5.5 | Flood Risk Management | 2 | 2 | 0 | 0
5.6 | Stormwater Management | 2 | 0 | 0 | 0
5.7 | Green Roof / Wall | 2 | 0 | 0 | 0
6 |  | 12 | 7 | 0 | 0
6. Sustainable Transport
6.1 | Cycle Parking | 2 | 2 | 0 | 0
6.2 | End of Trip Facilities | 0 | 0 | 0 | 0
6.3 | Car parking | 2 | 0 | 0 | 0
6.4 | Motor cycle and small car parking | 1 | 0 | 0 | 0
4 |  | 5 | 2 | 0 | 0
140

## Index - development
Project Details
Project name: |  | <input project name>
What type of building is your project? |  | Student Accommodation
What is the ambition level for your project? |  | Gold - 75% |  |  | 0.75
Ambition Level |  | Gold - 75%
|  | Pre-contract Design | D & C Stage
Total Points Available |  | 140 | 140
Total Points to achieve ambition level |  | 105 | 105
Current total points targeted |  | 0 | 0
Remaining points required to achieve ambition level |  | 105 | 105
|  | Points Available | Mandatory Points | Pre-contract Design |  | Design & Construction
|  |  |  | Points Targeted | Points to be Confirmed | Points Targeted | Points to be Confirmed
1. Leadership and Communication
1.1 | ESD Professional | 2 | 2 | 0 | 0 | 0 | 0
1.2 | Life Cycle cost evaluation | 3 | 3 | 0 | 0 | 0 | 0
1.3 | Commissioning | 3 | 3 | 0 | 0 | 0 | 0
1.4 | Environmental Management Plan | 1 | 1 | 0 | 0 | 0 | 0
1.5 | Site Waste Management Plan | 1 | 1 | 0 | 0 | 0 | 0
1.6 | Indoor Air Quality Management Plan | 3 | 3 | 0 | 0 | 0 | 0
1.7 | Building Users' Guide | 1 | 1 | 0 | 0 | 0 | 0
1.8 | Public information display | 2 | 0 | 0 | 0 | 0 | 0
9 |  | 16 | 14 | 0 | 0 | 0 | 0
2. Resource Efficiency
Passive Design and Energy Efficiency
2.1 | Passive Design Principles | 1 | 1 | 0 | 0 | 0 | 0
2.2 | Improve Building Energy Performance by 20% | 3 | 3 | 0 | 0 | 0 | 0
2.3 | Solar PV Systems | 3 | 3 | 0 | 0 | 0 | 0
2.4 | Hot Water Systems | 3 | 3 | 0 | 0 | 0 | 0
2.5 | Energy Consuming Equipment | 2 | 2 | 0 | 0 | 0 | 0
2.6 | Metering Utility Use | 3 | 3 | 0 | 0 | 0 | 0
2.7 | Lighting Systems | 2 | 2 | 0 | 0 | 0 | 0
2.8 | Unoccupied Spaces | 2 | 2 | 0 | 0 | 0 | 0
2.9 | No Hot Water in Public Restrooms | 1 | 1 | 0 | 0 | 0 | 0
2.10 | Improve Building Energy Performance by 30% | 3 | 0 | 0 | 0 | 0 | 0
2.11 | Natural Ventilation | 3 | 0 | 0 | 0 | 0 | 0
2.12 | Mixed Mode Ventilation | 10 | 0 | 0 | 0 | 0 | 0
2.13 | Peak Power (1) | 3 | 3 | 0 | 0 | 0 | 0
2.14 | Peak Power (2) | 3 | 0 | 0 | 0 | 0 | 0
Water Efficiency
2.15 | Water Use | 1 | 1 | 0 | 0 | 0 | 0
2.16 | Laboratory equipment water use | 0 | 0 | 0 | 0 | 0 | 0
2.17 | Process water efficiency | 0 | 0 | 0 | 0 | 0 | 0
2.18 | Water Harvesting | 3 | 3 | 0 | 0 | 0 | 0
2.19 | Fire Systems | 1 | 1 | 0 | 0 | 0 | 0
Waste Management & Resource Recovery
2.20 | Centralised Building Waste Management System | 1 | 1 | 0 | 0 | 0 | 0
2.21 | Waste Storage | 1 | 1 | 0 | 0 | 0 | 0
20 |  | 49 | 30 | 0 | 0 | 0 | 0
3. Healthy Environment
3.1 | Access to water stations | 1 | 1 | 0 | 0 | 0 | 0
3.2 | Avoid Over lighting Spaces | 3 | 3 | 0 | 0 | 0 | 0
3.3 | Daylighting | 2 | 2 | 0 | 0 | 0 | 0
3.4 | External Views | 2 | 2 | 0 | 0 | 0 | 0
3.5 | Avoid Glare | 2 | 2 | 0 | 0 | 0 | 0
3.6 | Thermal Comfort | 2 | 2 | 0 | 0 | 0 | 0
3.7 | Location of Stairs | 1 | 1 | 0 | 0 | 0 | 0
3.8 | Building Noise | 1 | 1 | 0 | 0 | 0 | 0
3.9 | CO2 Monitoring | 3 | 3 | 0 | 0 | 0 | 0
3.10 | Volatile Organic Compounds - Adhesives & Sealants | 2 | 2 | 0 | 0 | 0 | 0
3.11 | Volatile Organic Compounds - Paints & Carpets | 2 | 2 | 0 | 0 | 0 | 0
3.12 | Formaldehyde Minimisation | 2 | 2 | 0 | 0 | 0 | 0
3.13 | Ceiling Fans | 2 | 0 | 0 | 0 | 0 | 0
3.14 | Planting selection | 1 | 0 | 0 | 0 | 0 | 0
14 |  | 26 | 23 | 0 | 0 | 0 | 0
4. Materials
4.1 | Loose Furnishings | 2 | 2 | 0 | 0 | 0 | 0
4.2 | Sustainable Timber (1) | 2 | 2 | 0 | 0 | 0 | 0
4.3 | Recycled Steel (1) | 3 | 3 | 0 | 0 | 0 | 0
4.4 | Façade Reuse | 2 | 0 | 0 | 0 | 0 | 0
4.5 | Structure Reuse | 3 | 0 | 0 | 0 | 0 | 0
4.6 | Sustainable Timber (2) | 2 | 0 | 0 | 0 | 0 | 0
4.7 | Steel (2) | 3 | 0 | 0 | 0 | 0 | 0
4.8 | Recycled Concrete | 3 | 0 | 0 | 0 | 0 | 0
4.9 | Regional materials | 3 | 0 | 0 | 0 | 0 | 0
4.10 | Joinery | 3 | 0 | 0 | 0 | 0 | 0
4.11 | PVC Minimisation | 3 | 0 | 0 | 0 | 0 | 0
4.12 | Design for Disassembly | 3 | 0 | 0 | 0 | 0 | 0
13 |  | 32 | 7 | 0 | 0 | 0 | 0
5. Climate Change, Landscape & Infrastructure
5.1 | Infrastructure Future proofing | 3 | 3 | 0 | 0 | 0 | 0
5.2 | High Albedo Roof Materials | 1 | 1 | 0 | 0 | 0 | 0
5.3 | Surface Heat Reduction | 1 | 1 | 0 | 0 | 0 | 0
5.4 | Landscape | 1 | 0 | 0 | 0 | 0 | 0
5.5 | Flood Risk Management | 2 | 2 | 0 | 0 | 0 | 0
5.6 | Stormwater Management | 2 | 0 | 0 | 0 | 0 | 0
5.7 | Green Roof / Wall | 2 | 0 | 0 | 0 | 0 | 0
6 |  | 12 | 7 | 0 | 0 | 0 | 0
6. Sustainable Transport
6.1 | Cycle Parking | 2 | 2 | 0 | 0 | 0 | 0
6.2 | End of Trip Facilities | 0 | 0 | 0 | 0 | 0 | 0
6.3 | Car parking | 2 | 0 | 0 | 0 | 0 | 0
6.4 | Motor cycle and small car parking | 1 | 0 | 0 | 0 | 0 | 0
4 |  | 5 | 2 | 0 | 0 | 0 | 0
140

## Fields (hidden)
What type of building is your project? | Ambition Level
Student Accommodation | Bronze - 65%
General Buildings | Silver - 70%
Laboratory Building | Gold - 75%
Platinum - 80%

## Points (hidden)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | Mandatory |  |  | Points Available
|  | SA | GB | Lab | SA | GB | Lab |  |  | SA | GB | Lab
1. Leadership and Communication | [8 empty] | 1. Leadership and Communication
1.1 | ESD Professional | 2 | 2 | 2 | 2 | 2 | 2 |  | 1.1 | Yes | Yes | Yes
1.2 | Life Cycle cost evaluation | 3 | 3 | 3 | 3 | 3 | 3 |  | 1.2 | Yes | Yes | Yes
1.3 | Commissioning | 3 | 1 | 1 | 3 | 1 | 1 |  | 1.3 | Yes | Yes | Yes
1.4 | Environmental Management Plan | 1 | 1 | 1 | 1 | 1 | 1 |  | 1.4 | Yes | Yes | Yes
1.5 | Site Waste Management Plan | 1 | 1 | 1 | 1 | 1 | 1 |  | 1.5 | Yes | Yes | Yes
1.6 | Indoor Air Quality Management Plan | 3 | 3 | 3 | 3 | 3 | 3 |  | 1.6 | Yes | Yes | Yes
1.7 | Building Users' Guide | 1 | 1 | 1 | 1 | 1 | 1 |  | 1.7 | Yes | Yes | Yes
1.8 | Public information display | 0 | 0 | 0 | 2 | 2 | 2 |  | 1.8 | No | No | No
9 |  | 14 | 12 | 12 | 16 | 14 | 14 |  | 9
2. Resource Efficiency | [8 empty] | 2. Resource Efficiency
Passive Design and Energy Efficiency | [8 empty] | Passive Design and Energy Efficiency
2.1 | Passive Design Principles | 1 | 1 | 1 | 1 | 1 | 1 |  | 2.1 | Yes | Yes | Yes
2.2 | Improve Building Energy Performance by 20% | 3 | 3 | 3 | 3 | 3 | 3 |  | 2.2 | Yes | Yes | Yes
2.3 | Solar PV Systems | 3 | 3 | 3 | 3 | 3 | 3 |  | 2.3 | Yes | Yes | Yes
2.4 | Hot Water Systems | 3 | 3 | 3 | 3 | 3 | 3 |  | 2.4 | Yes | Yes | Yes
2.5 | Energy Consuming Equipment | 2 | 2 | 3 | 2 | 2 | 3 |  | 2.5 | Yes | Yes | Yes
2.6 | Metering Utility Use | 3 | 3 | 3 | 3 | 3 | 3 |  | 2.6 | Yes | Yes | Yes
2.7 | Lighting Systems | 2 | 2 | 2 | 2 | 2 | 2 |  | 2.7 | Yes | Yes | Yes
2.8 | Unoccupied Spaces | 2 | 2 | 0 | 2 | 2 | 0 |  | 2.8 | Yes | Yes | No
2.9 | No Hot Water in Public Restrooms | 1 | 1 | 1 | 1 | 1 | 1 |  | 2.9 | Yes | Yes | Yes
2.10 | Improve Building Energy Performance by 30% | 0 | 0 | 0 | 3 | 3 | 3 |  | 2.10 | No | No | No
2.11 | Natural Ventilation | 0 | 0 | 0 | 3 | 3 | 3 |  | 2.11 | No | No | No
2.12 | Mixed Mode Ventilation | 0 | 0 | 0 | 10 | 10 | 10 |  | 2.12 | No | No | No
2.13 | Peak Power (1) | 3 | 3 | 3 | 3 | 3 | 3 |  | 2.13 | Yes | Yes | Yes
2.14 | Peak Power (2) | 0 | 0 | 0 | 3 | 3 | 3 |  | 2.14 | No | No | No
Water Efficiency | [8 empty] | Water Efficiency
2.15 | Water Use | 1 | 1 | 1 | 1 | 1 | 1 |  | 2.15 | Yes | Yes | Yes
2.16 | Laboratory equipment water use | 0 | 0 | 3 | 0 | 0 | 3 |  | 2.16 | No | No | Yes
2.17 | Process water efficiency | 0 | 0 | 2 | 0 | 0 | 2 |  | 2.17 | No | No | Yes
2.18 | Water Harvesting | 3 | 3 | 3 | 3 | 3 | 3 |  | 2.18 | Yes | Yes | Yes
2.19 | Fire Systems | 1 | 1 | 1 | 1 | 1 | 1 |  | 2.19 | Yes | Yes | Yes
Waste Management & Resource Recovery | [8 empty] | Waste Management & Resource Recovery
2.20 | Centralised Building Waste Management System | 1 | 1 | 1 | 1 | 1 | 1 |  | 2.20 | Yes | Yes | Yes
2.21 | Waste Storage | 1 | 1 | 1 | 1 | 1 | 1 |  | 2.21 | Yes | Yes | Yes
20 |  | 30 | 30 | 34 | 49 | 49 | 53 |  | 20
3. Healthy Environment | [8 empty] | 3. Healthy Environment
3.1 | Access to water stations | 1 | 1 | 1 | 1 | 1 | 1 |  | 3.1 | Yes | Yes | Yes
3.2 | Avoid Over lighting Spaces | 3 | 3 | 3 | 3 | 3 | 3 |  | 3.2 | Yes | Yes | Yes
3.3 | Daylighting | 2 | 2 | 0 | 2 | 2 | 2 |  | 3.3 | Yes | Yes | No
3.4 | External Views | 2 | 2 | 0 | 2 | 2 | 2 |  | 3.4 | Yes | Yes | No
3.5 | Avoid Glare | 2 | 2 | 2 | 2 | 2 | 2 |  | 3.5 | Yes | Yes | Yes
3.6 | Thermal Comfort | 2 | 2 | 2 | 2 | 2 | 2 |  | 3.6 | Yes | Yes | Yes
3.7 | Location of Stairs | 1 | 1 | 1 | 1 | 1 | 1 |  | 3.7 | Yes | Yes | Yes
3.8 | Building Noise | 1 | 1 | 1 | 1 | 1 | 1 |  | 3.8 | Yes | Yes | Yes
3.9 | CO2 Monitoring | 3 | 3 | 3 | 3 | 3 | 3 |  | 3.9 | Yes | Yes | Yes
3.10 | Volatile Organic Compounds - Adhesives & Sealants | 2 | 2 | 2 | 2 | 2 | 2 |  | 3.10 | Yes | Yes | Yes
3.11 | Volatile Organic Compounds - Paints & Carpets | 2 | 2 | 2 | 2 | 2 | 2 |  | 3.11 | Yes | Yes | Yes
3.12 | Formaldehyde Minimisation | 2 | 2 | 2 | 2 | 2 | 2 |  | 3.12 | Yes | Yes | Yes
3.13 | Ceiling Fans | 0 | 0 | 0 | 2 | 2 | 2 |  | 3.13 | No | No | No
3.14 | Planting selection | 0 | 0 | 0 | 1 | 1 | 1 |  | 3.14 | No | No | No
14 |  | 23 | 23 | 19 | 26 | 26 | 26 |  | 14
4. Materials | [8 empty] | 4. Materials
4.1 | Loose Furnishings | 2 | 2 | 2 | 2 | 2 | 2 |  | 4.1 | Yes | Yes | Yes
4.2 | Sustainable Timber (1) | 2 | 2 | 2 | 2 | 2 | 2 |  | 4.2 | Yes | Yes | Yes
4.3 | Recycled Steel (1) | 3 | 3 | 3 | 3 | 3 | 3 |  | 4.3 | Yes | Yes | Yes
4.4 | Façade Reuse | 0 | 0 | 0 | 2 | 2 | 2 |  | 4.4 | No | No | No
4.5 | Structure Reuse | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.5 | No | No | No
4.6 | Sustainable Timber (2) | 0 | 0 | 0 | 2 | 2 | 3 |  | 4.6 | No | No | No
4.7 | Steel (2) | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.7 | No | No | No
4.8 | Recycled Concrete | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.8 | No | No | No
4.9 | Regional materials | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.9 | No | No | No
4.10 | Joinery | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.10 | No | No | No
4.11 | PVC Minimisation | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.11 | No | No | No
4.12 | Design for Disassembly | 0 | 0 | 0 | 3 | 3 | 3 |  | 4.12 | No | No | No
13 |  | 7 | 7 | 7 | 32 | 32 | 33 |  | 13
5. Climate Change, Landscape & Infrastructure | [8 empty] | 5. Climate Change, Landscape & Infrastructure
5.1 | Infrastructure Future proofing | 3 | 3 | 3 | 3 | 3 | 3 |  | 5.1 | Yes | Yes | Yes
5.2 | High Albedo Roof Materials | 1 | 1 | 1 | 1 | 1 | 1 |  | 5.2 | Yes | Yes | Yes
5.3 | Surface Heat Reduction | 1 | 1 | 1 | 1 | 1 | 1 |  | 5.3 | Yes | Yes | Yes
5.4 | Landscape | 0 | 0 | 0 | 1 | 1 | 1 |  | 5.4 | No | No | No
5.5 | Flood Risk Management | 2 | 2 | 2 | 2 | 2 | 2 |  | 5.5 | Yes | Yes | Yes
5.6 | Stormwater Management | 0 | 0 | 0 | 2 | 2 | 2 |  | 5.6 | No | No | No
5.7 | Green Roof / Wall | 0 | 0 | 0 | 2 | 2 | 2 |  | 5.7 | No | No | No
6 |  | 7 | 7 | 7 | 12 | 12 | 12 |  | 6
6. Sustainable Transport | [8 empty] | 6. Sustainable Transport
6.1 | Cycle Parking | 2 | 2 | 2 | 2 | 2 | 2 |  | 6.1 | Yes | Yes | Yes
6.2 | End of Trip Facilities | 0 | 2 | 2 | 0 | 2 | 2 |  | 6.2 | No | Yes | Yes
6.3 | Car parking | 0 | 0 | 0 | 2 | 2 | 2 |  | 6.3 | No | No | No
6.4 | Motor cycle and small car parking | 0 | 0 | 0 | 1 | 1 | 1 |  | 6.4 | No | No | No
4 |  | 2 | 4 | 4 | 5 | 7 | 7 |  | 4
| Total Points Available |  |  |  | 140 | 140 | 145