## RMSB and MSB
Deemed-to-Comply Switchboard Manufacturers Form (CIS-ENG-F004)
1. Regional Main Switchboards and Main Switchboards
1. SMB Harwal Electric
2. KE Brown
3. Gosford Electrical Manufacturing
4. Relec Switchboards
5. SMB Macquarie Electric
Submit the switchboard design for each custom-made Regional Main Switchboard and Main Switchboard for each project to CIS Electrical Engineer for approval prior to tendering.
Submit the manufacturer’s shop drawings for CIS Electrical Engineer for approval prior to manufacturing.
For Switchboard Manufacturers not listed above, the contractor must submit the entire technical document, Type test reports and other requirements as per this Specification clause 5.15.2.

## Uni Standard DB Types 2,3,3a,5
Deemed-to-Comply Switchboard Manufacturers Form (CIS-ENG-F004)
2. University Standard Distribution Board Types 2, 3, 3a and 5
1. SMB Harwal Electric
2. KE Brown
3. SMB Macquarie Electric
For Switchboard Manufacturers not listed above, the contractor must submit the entire technical document, Type test reports and other requirements as per this Specification clause 5.15.2.

## Uni Standard DB Types 1 and 4
Deemed-to-Comply Switchboard Manufacturers Form (CIS-ENG-F004)
3. University Standard Distribution Board Types 1 and 4
1. SMB Harwal Electric
2. KE Brown
3. SMB Macquarie Electric
4. Gosford Electrical Manufacturing
5. Relec
For Switchboard Manufacturers not listed above, the contractor must submit the entire technical document, Type test reports and other requirements as per this Specification clause 5.15.2.

## Uni Standard Main DB's
Deemed-to-Comply Switchboard Manufacturers Form (CIS-ENG-F004)
4. University Standard Main Distribution Boards
1. SMB Harwal Electric
2. KE Brown
3. SMB Macquarie Electric
Submit the switchboard design for each custom-made Main Distribution Board and Distribution Board for each project to CIS Electrical Engineer for approval prior to tendering.
Submit the manufacturer’s shop drawings to CIS Electrical Engineer for approval prior to manufacturing.
For Switchboard Manufacturers not listed above, the contractor must submit the entire technical document, Type test reports and other requirements as per this Specification clause 5.15.2.